Text for specification

Description
fuse link 125 A
600 V AC, time delay
Class J, 41x146
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	125 A
rated voltage (UL) AC:	600 V
rated voltage (UL) DC:	300 V

SCCR: 100 kA DC, 200 kA AC 

Brand 
Woehner or equivalent

Part No.
03233100