Text for specification

Description
busbar cover
for 40 - 60 x 10 busbars, 1m long
touch protection cover
100Energy
185Power
185mm-System

Standards
IEC 61439-1:2011

Electrical data

Material properties
thermoplastic with high shape permanence to heat,
temperature stability maximum 100 °C
self-extinguishing in acc. to UL 94

Brand 
Woehner or equivalent

Part No.
01251000