Text for specification

Description
touch-safe protection shroud for longitudinal connectors
3-pole, front and rear mounting, cover width 165 mm
mounting to 2 busbar supports 01430 with a center distance of 150 mm
185Power

Standards
IEC 61439-1:2020
IEC 60999-1:1999
IEC 60999-2:2003

Electrical data

Brand 
Woehner or equivalent

Part No.
01416000A