Text for specification

Description
replacement fuse for MOTUS®
fuse 30 A for version 6.5 A for motors with heavy-duty starting
Class CC

Standards

Electrical data
Rated current (IEC):	30 A
rated voltage (IEC) AC:	500 V

rated current (UL):	30 A
rated voltage (UL) AC:	500 V

Brand 
Woehner or equivalent

Part No.
31569000