Text for specification

Description
mounting set with 3 terminal clamps
for drill-less mounting on the busbar system, with and without CrossLink® touch-safe protection covers
size 1 - 3
185Power

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33651000A