Text for specification

Description
reserve section cover
54 x 195, pitch 3 x 18 mm
Accessories

Standards
IEC 61439-1:2011

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94,
	creepage resistance CTI 600

Brand 
Woehner or equivalent

Part No.
79738000