Text for specification

Description
D01 gauge ring 4 A
brown
E 14
Accessories

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-3:2010 + A1:2013 + A2:2019

Electrical data
Rated current (IEC):	4 A

Brand 
Woehner or equivalent

Part No.
01716000