Text for specification

Description
fuse link 4 A
600 V AC, time delay
Class J, 30 A frame
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	4 A
rated voltage (UL) AC:	600 V
rated voltage (UL) DC:	500 V

SCCR:	200 kA

SCCR: DC 100 kA 

Brand 
Woehner or equivalent

Part No.
31345000