Text for specification

Description
insulated screw extension for terminal clamp
for safe live working with standard tools
size 1 - 3

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33652000A