Text for specification

Description
connecting terminal, front connection
for 3-pole comb-type busbar 35 mm², suitable for NH-fuse-switch-disconnector size 000 with box terminal
4 - 35 mm²
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33907000