Text for specification

Descripción
pletina flexible, estañada, aislada
10x 24 x 1
727 A, longitud 2 m
Accessories

Normas
IEC 61439-1:2020

homologaciónes
UL

datos eléctricos
intensidad de corriente nominal (IEC):	727 A

power dissipation at full load of the item:	92.8 W

Miscellaneous 
Tin-plated Cu bars considerably reduce the effort of preparing the contact points.
The Cu busbars are effectively protected against aggressive media.

Brand 
Woehner or equivalent

Part No.
01076000