Text for specification

Descripción
pletina flexible, lisa, aislada
5x 63 x 1
1061 A, longitud 2 m
Accessories

Normas
IEC 61439-1:2011

homologaciónes
UL

datos eléctricos
intensidad de corriente nominal (IEC):	1,061 A

power dissipation at full load of the item:	150.6 W

Miscellaneous 
The laminated Cu busbars considerably reduce the effort of connecting busbars. The bending devices required for solid copper busbars are unnecessary. The 2mm-thick insulation means that no additional covering is required.

Brand 
Woehner or equivalent

Part No.
01324000