Text for specification

Descripción
barra 25 x 5
longitud de 2,40 m, estañado
60Classic

Normas
IEC 61439-1:2011

datos eléctricos
power dissipation at full load of the item:	61.0 W

Miscellaneous 
Tin-plated Cu busbars considerably reduce the effort of preparing the contact points.
The Cu busbars are effective protected against aggressive media.

Brand 
Woehner or equivalent

Part No.
01621000