Text for specification

Descripción
protección lateral
3 polos
230 mm
60Classic

Normas
IEC 61439-1:2011

datos eléctricos

Miscellaneous 
For covering the ends of the busbars in busbar systems with 3-pole system shrouding.
Is plugged onto section holder 01 017.

Brand 
Woehner or equivalent

Part No.
01019000