Text for specification

Descrizione
morsetto a prisma
für Cu / Al 10 - 95 mm²
Gr. NH 00
185Power

Norme
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Valori elettrici

Connessioni
Suitable for aluminium cables.
When using aluminium cables, observe the maintenance instructions.

Brand 
Woehner or equivalent

Cod. art.
33734000A