Text for specification

Descrizione
Protezioni laterali per supporto profili
3p
230 mm
60Classic

Norme
IEC 61439-1:2011

Valori elettrici

Miscellaneous 
For covering the ends of the busbars in busbar systems with 3-pole system shrouding.
Is plugged onto section holder 01 017.

Brand 
Woehner or equivalent

Cod. art.
01019000