Text for specification

Descrizione
Barra di rame, 12  x 10
lunghezza 2,40 m, stagnata
30Compact 3P
60Classic

Norme
IEC 61439-1:2011

Omologazioni
CSA, UL

Valori elettrici
power dissipation at full load of the item:	51.0 W

Rated current as per UL 150A
in 3-pole 60mm-System compact also 300A

Miscellaneous 
Tin-plated Cu busbars considerably reduce the effort of preparing the contact points.
The Cu busbars are effective protected against aggressive media.

Brand 
Woehner or equivalent

Cod. art.
01623000