Text for specification

Descrizione
morsetto a prisma per cavi Cu
16 - 70 mm²
Gr. NH 00
60Classic

Norme
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Valori elettrici

Connessioni
Suitable for aluminium cables.
When using aluminium cables, observe the maintenance instructions.

Brand 
Woehner or equivalent

Cod. art.
33224000