Text for specification

Descrizione
Barra di rame, 80 x 10
lunghezza 2,40 m, stagnata
185Power
185mm-System

Norme
IEC 61439-1:2011

Omologazioni
UL

Valori elettrici
power dissipation at full load of the item:	133,0 W

Miscellaneous 
Tin-plated Cu busbars considerably reduce the effort of preparing the contact points.
The Cu busbars are effective protected against aggressive media.

Brand 
Woehner or equivalent

Cod. art.
01765000