Text for specification

Descrizione
contatto ausiliare
1 NC + 1 NA, morsetti a vite
Come accessorio

Norme
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Omologazioni
UL

Valori elettrici

Miscellaneous 
mountable on both sides removable 

Brand 
Woehner or equivalent

Cod. art.
33692000A