Text for specification

Description
Cobertura final para 01479
100Energy

Standards
IEC 61439-1:2011

Electrical data

Material properties
Cover:
	temperature stability 70°C, 
	self-extinguishing in acc. to UL 94

Brand 
Woehner or equivalent

Nº da peça
01254000