Text for specification

Description
CAPUS®Panel
acionamento extraível

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Miscellaneous 
handle can be locked in position 0 (off) with up to three locks with shackle diameter 4 to 5 mm

Brand 
Woehner or equivalent

Nº da peça
23933000AD