Text for specification

Description
braçadeira intermediária do barramento
para aumentar a força mecânica
2 mm
30Compact 3P
30Compact 5P

Standards
IEC 61439-1:2020

Electrical data

Miscellaneous 
high mechanical strength with greatly reduced space requirement compared to busbar support 01 272

Brand 
Woehner or equivalent

Nº da peça
01376000