Text for specification

Description
cobertura final
3 polos
230 mm
60Classic

Standards
IEC 61439-1:2011

Electrical data

Material properties
Cover:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 200,
	halogen-free

Miscellaneous 
For covering the ends of the busbars in busbar systems with 3-pole system shrouding.
Is plugged onto section holder 01 017.

Brand 
Woehner or equivalent

Nº da peça
01019000