Text for specification

Description
armação acabamento VMS
para caixas VMS
Accessories

Standards
IEC 61439-1:2011

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 200,
	halogen-free

Brand 
Woehner or equivalent

Nº da peça
01139000