Text for specification

Description
fusível 20 A
600 V AC, fast acting
Class J, 21x57
Accessories

Standards

Approvals
CSA, UL

Electrical data

rated current (UL):	20 A
rated voltage (UL) AC:	600 V

SCCR: 200 kA AC 

Brand 
Woehner or equivalent

Nº da peça
31325100A